Ccure 9000: Unlock or Locking Doors

- In Ccure Monitoring Station select “Doors” in the right-side Explorer Bar.

- Find the door to perform Lock/Unlock function on via the filter button   in the top tool bar or by scrolling through the list.

- Once door is located select the door by clicking once on the row (will turn blue), then right click.

- From the menu, choose “Lock” or “Unlock.”

- A Manual Auction box will pop up:

- The start and end time are defaulted to one hour; however you can change the date and time and schedule in advance.

**Be sure to set your start/end date and time appropriately.**

**Manual Actions should be for needs that accommodate no more than 7 repeating days and not long-term needs.**

  - Do not change Priority or Time Zone.

  - Enter a short description or note under Instructions (Ex. Unlock for Student Event).

  - Click Save and Close in the upper left.

- Your manual action has been scheduled.  If you need to change, view or delete this at any time Click on “Manual Actions” in the Explorer Bar (refer to training: How to View or Delete your Manual Actions).  The Manual Actions dialogue box will show all scheduled or active manual actions.